## Sheet1
Feature | Nagjhari |  | Varahi |  | Supa |  | Gattaprabha |  | Gerusoppa |  | Bhadra |  | Kadra |  | Kodasalli |  | Almatti |  | MGHE |  | Shimsha |  | Mani |  | Munirabad
| Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description | Value | Description
EMS Server IP | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10 |  | 192.168.1.10
Number of Generator Meters (Ethernet) | 6 |  | 4 |  | 2 |  | 0 |  | 4 |  | 5 |  | 3 |  | 3 |  | 6 |  | 8 |  | 2 |  | 2 |  | 8 | 4 - main , 4 - check
IP address Range for Gen meters | 192.168.1.(100 - 105) |  | 192.168.1.(100 - 103) |  | 192.168.1.(100 - 101) |  | no GEN meters |  | 192.168.1.(100 - 103) |  | 192.168.1.(100 - 104) |  | 192.168.1.(100 - 102) |  | 192.168.1.(100 - 102) |  | 192.168.1.(100 - 105) |  | 192.168.1.(100 - 107) |  | 192.168.1.(100 - 101) |  | 192.168.1.(100 - 101) |  | main(192.168.1. (100-103)), check(192.168.1.(105-108))
Number of GT Meters (Ethernet ) | 6 |  | 4 |  | 2 |  | 0 |  | 4 |  | 5 |  | 3 |  | 3 |  | 6 |  | 8 |  | 2 |  | 0 |  | 8 | 4 - main , 4 - check
IP address Range for GT Meters | 192.168.1.(110 - 115) |  | 192.168.1.(110 - 113) |  | 192.168.1.(110 - 111) |  | no GT meters |  | 192.168.1.(110 - 113) |  | 192.168.1.(110 - 114) |  | 192.168.1.(110 - 112) |  | 192.168.1.(110 - 112) |  | 192.168.1.(110 - 115) |  | 192.168.1.(110 - 117) |  | 192.168.1.(110 - 111) |  | none |  | main(192.168.1. (110-113)), check(192.168.1.(115-118))
Number of Feeder Meters | 20 |  | 14 |  | 6 |  | none | serial meters | 5 |  | 6 |  | 10 |  | 10 |  | 10 |  | 14 |  | 6 |  | 2 |  | 0
Number of Main Feeder Meters | 10 |  | 7 |  | 3 |  | none | serial meters | 3 |  | 3 |  | 5 |  | 5 |  | 5 |  | 7 |  | 3 |  | 1 |  | 0
IP address Range for main feeder meters | 192.168.1.(120 - 127) , Bus coupler 192.168.1.(140 ,142) |  | 192.168.1.(120 - 125) , Bus coupler(192.168.1.140) |  | 192.168.1.(120 - 121) , Bus coupler(192.168.1.140) |  | none |  | 192.168.1.(120 - 122) |  | 192.168.1.(120 - 122) |  | 192.168.1.(120 - 124) |  | 192.168.1.(120 - 123) , Bus coupler (192.168.1.140) |  | 192.168.1.(120 - 123) , Bus coupler (192.168.1.140) |  | 192.168.1.(120 - 125) , Bus coupler (192.168.1.140) |  | 192.168.1.(120 - 122) |  | 192.168.1.120 |  | none
Number of Check Feeder Meters | 10 |  | 7 |  | 3 |  | none |  | 2 |  | 3 |  | 5 |  | 5 |  | 5 |  | 7 |  | 3 |  | 1 |  | 0
IP address range for check feeder meters | 192.168.1.(130 - 137), Bus coupler 192.168.1.(141, 143) |  | 192.168.1.(130 - 135), Bus coupler (192.168.1.141) |  | 192.168.1.(130 - 131), Bus coupler (192.168.1.141) |  | none |  | 192.168.1.(130 - 131) |  | 192.168.1.(130 - 132) |  | 192.168.1.(130 - 134) |  | 192.168.1.(130 - 133) , Bus coupler (192.168.1.141) |  | 192.168.1.(130 - 133) , Bus coupler (192.168.1.141) |  | 192.168.1.(130 - 135) , Bus coupler (192.168.1.141) |  | 192.168.1.(130 - 132) |  | 192.168.1.130 |  | none
Number of Spare Meters | 2 |  | 2 |  | 2 |  | none |  | 3 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 0
IP address range for Spare meters | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | none |  | 192.168.1.(150-152) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 192.168.1.(150-151) |  | 0
Number of DCUs | 1 |  | 2 (DCU_VUGPH , DCU_ODY) |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  |  |  | 1 |  | 1 |  | 1
IP Address of DCUs | 192.168.1.50 |  | 192.168.1.50, 192.168.1.60 |  | 192.168.1.50 |  | 192.168.1.50 |  | 192.168.1.50 |  | 192.168.1.50 |  | 192.168.1.50 |  | 192.168.1.50 |  | 192.168.1.50 |  |  |  | 192.168.1.50 |  | 192.168.1.50 |  | 192.168.1.50
Number of Ports in DCU | 4 ports (2 Rings) |  | DCU_VUGPH - 4 port (2 rings), DCU_ODY - 2 port (1 ring) | In 1st DCU GT and feeder meters connected , in 2nd DCU only Generator meters connected | 4 ports (2 rings) |  | 2 ports (1 rings) |  | 4(2 rings) |  | 4(2 rings) |  | 4(2 rings) |  | 4(2 ring) |  | 4(2 ring) |  |  |  | 2(1 ring) |  | 2(1 ring) |  | 4(2 ring) | in ring 1 aux meter connectded, in ring 2 main meters connected(generator , GT)
Number of Generator Meters (Serial) | 6 |  | 4 |  | 2 |  | 2 | slave ids ( gen_1 = 823, gen_2 = 849) | 4 |  | 5 |  | 3 |  | 3 |  | 6 |  |  |  | 2 |  | 2 |  | 8 | 4 - main , 4 - check
Port to which each Gen Meter is connected | RING 2 |  | RING 1 (DCU_VUGPH) |  | RING 1 |  | RING 1 |  | RING 1 |  | RING 1 , RING 2 |  | Ring 1 |  | RING 1 |  | RING 1 |  |  |  | RING 1 |  | RING 1 |  | RING 2
Number of GT Meters (Serial) | 6 |  | 4 |  | 2 |  | no GT meters |  | 4 |  | 5 |  | 3 |  | 3 |  | 6 | [5 empty] | 0 |  | 8 | 4 - main , 4 - check
Port to which each GT Meter is connected | RING 1 and RING 2 |  | RING 1 (DCU_ODY) |  | RING 1 | 3 | no GT meters |  | RING 2 |  | RING 1 , RING 2 |  | Ring 1 |  | RING 1 |  | RING 1 | [5 empty] | RING 1 |  | RING 2
Number of Main Feeder Meters ( Serial ) | 10 |  | 7 |  | 10(5 main , 5 check) |  | 2 | slave ids ( met_1 = 92, met_2 = 74 ) | 3 |  | 3 |  | 5 | 1 bus coupler meter | 5 | 1 bus coupler meter | 5 | [5 empty] | 1 |  | 0
Port to which each main Feeder Meter is connected | both RING 1 , RING 2 |  | both RING 1 , RING 2 (DCU_ODY) |  | Out of 10, 6 meters are supplied by CMS connected in Ring 1 their 2 meters One mter is conneced in Ring 1 and other mter is conneced to the Ring 2 |  | RING 1 |  | 2 meters in ring 1 and 1 meters in ring 2 |  | RING 2 |  | 4 meters in Ring 2 and 1 meter in ring 1 |  | RING 2 |  | RING 2 | [5 empty] | RING 1 |  | -
Number of Check Feeder Meters ( Serial ) | 10 |  | 7 |  |  |  | 2 | slave ids ( met_1 = 99, met_2 = 76) | 2 |  | 3 |  | 5 | 1 bus coupler meter | 5 | 1 bus coupler meter | 5 | [5 empty] | 1 |  | 0
Port to which each Check Feeder Meter is connected | both RING 1 , RING 2 |  | both RING 1 , RING 2 (DCU_ODY) |  |  |  | RING 1 |  | RING 1 |  | RING 2 |  | 4 meters in Ring 2 and 1 meter not used |  | RING 2 |  | RING 2 | [5 empty] | RING 1 |  | -
Number of Device Servers ( CMS/MOXA ) | 1 (CMS) |  | 2 |  | 1(CMS) |  | 2 |  | 1(MOXA) |  | 1 (CMS) |  | 1(CMS) |  | 2(CMS) |  | 1(MOXA) | [5 empty] | 1(cms) |  | none
IP Address of Device server(s) | 192.168.1.60 | [5 empty] | 192.168.1.(30, 31) |  | 192.168.1.60 |  | 192.168.1.30 |  | 192.168.1.70 |  | 192.168.1.70, 192.168.1.80 |  | 192.168.1.60 | [5 empty] | 192.168.1.30 |  | none
Number of Auxiliary Meters |  |  | 6 |  | 7 |  | 8 |  | 15 |  | 5 |  | 6 |  | 13 |  | 16 | [5 empty] | 6 |  | 9
Type of Auxiliary Meters | DLMS |  | DLMS |  | DLMS |  | DLMS |  | MODBUS |  | DLMS |  | DLMS |  | DLMS, MODBUS |  | MODBUS | [5 empty] | DLMS | 2 port meters | DLMS | 4 port meter
Auxiliary Meters Supplied by CMS | - |  | yes |  | - |  | no |  | no |  | none |  | yes |  | yes |  | no | [5 empty] | none |  | yes
DLMSToModTcp Conversion Required | no |  | no |  | no |  | no |  | yes |  | no |  | no |  | yes |  | no | [5 empty] | no |  | no
Number of switches | 3 |  | 3 |  | 1 |  | no |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | [5 empty] | 1 |  | 3
IP Addresses of switches | 192.168.1.(20, 21, 22) |  | 192.168.1.(20, 21, 22) |  | 192.168.1.20 |  | none |  | 192.168.1.(20,21) |  | 192.168.1.(20,21) |  | 192.168.1.(120 , 121) |  | 192.168.1.20, 192.168.1.21 |  | 192.168.1.5, 192.168.1.6 | [5 empty] | 192.168.1.20 |  | null | not displayed in ems page
Gateway IP Configured in DCU for KPTCL | 10.6.72.1 |  | 10.4.114.1 |  | 10.6.97.1 |  | 10.6.28.1 |  | 10.4.210.1 |  | 10.4.19.1 |  | 10.6.48.1 |  | 10.6.54.1 |  | 10.6.111.1 | [5 empty] | 10.4.121.1 |  | not connected to kptcl
Gateway IP Configured in EMS for KPCL | 172.23.217.1 |  | 172.23.146.1 |  | 172.23.173.129 |  | 172.23.119.33 |  | 172.23.157.193 |  | 172.23.119.1 |  | 172.23.156.193 |  | 172.23.156.193 |  | 172.23.155.1 | [5 empty] | 173.23.146.1 |  | 172.23.119.76
IP Address of KPTCL Firewall | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100 |  | 192.168.2.100
IP Address of KPCL Firewall | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100 |  | 192.168.3.100
SLD – Voltage/Freq Display | yes | Any one feeder frequency average voltage | yes | Any one feeder frequency average voltage | yes | Any one feeder frequency average voltage | yes | Any one feeder frequency average voltage | yes | Any one feeder frequency average voltage | avg voltage and avg frequency |  | avg voltage and avg frequency |  | avg voltage and avg frequency |  | no SLD page | [5 empty] | yes | avg frequency , avg voltage | no
Aux SLD Available | no |  | yes |  | no |  | no |  | yes |  | no |  | no |  | no |  | no | [5 empty] | yes |  | yes
Inst Data View | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Aux Inst Data View | yes |  | no |  | no |  | no |  | yes |  | no |  | no |  | no |  | yes | [5 empty] | yes |  | no
Block Gen Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Hourly Gen Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Xbus block gen only exp Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Xbus hourly gen only exp Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Block Trans Report ( Imp & Exp ) | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | no
Hourly Trans Report ( Imp & Exp ) | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | no
load MVAR report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
LS Raw Data Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Midnight Raw Data Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
JEMR1 Report ( No. Of decimal places for values) | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(1 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) | [5 empty] | yes(4 decimal places) |  | yes (4 decimal places) | JEMR 1(a) for generator main meters, JEMR 1(b) for generator check meters
JEMR2 Report ( No. Of decimal places for values) | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(no decimal points) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) |  | yes(4 decimal places) | Separate report for main and check |  |  |  |  | yes(4 decimal places) |  | no
JEMR2a Report | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no | [5 empty] | no |  | yes | GT main merters
JEMR2b Report | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no | [5 empty] | no |  | yes | GT check meters
JEMR3 Report | yes |  | yes |  | yes |  | yes(4 decimal places) |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | no
JEMR4 Report | no |  | yes |  | no |  | no |  | no |  | no |  | no |  | no |  | no | [5 empty] | no |  | no
ABT Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Event Report | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes |  | yes | [5 empty] | yes |  | yes
Aux Hourly Consumption Report | no |  | no |  | no |  | no |  | yes |  | no |  | no |  | no |  | yes | [5 empty] | no |  | no
Hourly aux EMR report | no |  | no |  | no |  | no |  | yes |  | no |  | no |  | no |  | yes | [5 empty] | no |  | no
Monthly aux EMR report | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no |  | yes | [5 empty] | no |  | no
Load Monthly Hour Report | no |  | yes |  | no |  | no |  | yes |  | yes |  | yes |  | no |  | no | [5 empty] | yes |  | no
Monthly Day Report | no |  | yes |  | no |  | no |  | yes |  | yes |  | yes |  | no |  | no | [5 empty] | yes |  | no
Monthly LS Data Report | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no |  | no | [5 empty] | no |  | no
Monthly Midnight Report | no |  | yes |  | no |  | no |  | yes |  | yes |  | yes |  | no |  | no | [5 empty] | yes |  | no
Manual entry screens for export Reports | no |  | yes |  | no |  | no |  | yes |  | yes |  | yes |  | no |  | no | [5 empty] | yes |  | yes | for feeder meters we are giving manual entries
Meter reading report | no |  | no |  | no |  | no |  | no |  | yes |  | no |  | no |  | no | [5 empty] | no |  | no
Service hours report | no |  | yes |  | no |  | no |  | yes |  | yes |  | yes |  | no |  | no | [5 empty] | no |  | no
Download Report | no |  | yes |  | no |  | no |  | yes |  | yes |  | yes |  | no |  | yes | [5 empty] | yes |  | no
No. Of decimal places for energy values | 4 decimal values |  | 4 decimal places |  | 4 decimal places |  | 4 decimal places |  | 1 decimal places |  | 4 decimal places |  | 4 decimal places |  | 4 decimal places |  | 4 decimal places | [5 empty] | 4 decimal places |  | 4 decimal places